## Sheet1
columnName | description | unitOrCodeExplanationOrDateFormat | emptyValueCode
SITE_ID | ID assigned to each site
YEAR | Sample Year
VISIT_NO | Sequential visit number within year
SITE_TYPE | Site type
LAKE_SAMP | Evaluation status
SAMPLED | Was lake sampled? (Yes/No)
DATE_COL | Date of site visit
SAMPLE_CATEGORY | Sample type
DATECHEM | Date water chemistry sample collected
SAMPLED_CHEM | Site Sampled Code for Water Chemistry Data
INDXSAMP_CHEM | Index chemistry sample for site (YES/NO)
PH_FIELD | Field pH from Profile DO data (pH measured at first non-zero depth unless only depth was zero) | dimensionless
PH_FIELD_DEPTH | Depth at which Field pH was Measured (m) | meter
SAMPLE_DEPTH | Depth of integrated sample (typically 2 m) | meter
SAMPLE_ID_CHEM | Sample ID number
LAB_ID_CHEM | Laboratory Sample Identification Number
PH_LAB | pH measured at laboratory | dimensionless
PHLAB_FLAG | Flag for PH_LAB
COND | Conductivity (uS/cm at 25 C) | uS
COND_FLAG | Flag for COND
COND_RL_ALERT | COND Value Below Reporting Limit of 2.0 uS/cm at 25 C (Y/N)
ANC | Gran ANC (ueq/L) | ueq/L
ANC_FLAG | Flag for ANC
TURB | Turbidity (NTU) | NTU
TURB_FLAG | Flag for TURB
TURB_RL_ALERT | TURB Value Below Reporting Limit of 2.0 NTU (Y/N)
TOC | Total Organic Carbon (mg/L) | milligramsPerLiter
TOC_FLAG | Flag for TOC
TOC_RL_ALERT | TOC Value Below Reporting Limit of 0.20 mg/L (Y/N)
DOC | Dissolved Organic Carbon (mg/L) | milligramsPerLiter
DOC_FLAG | Flag for DOC
DOC_RL_ALERT | DOC Value Below Reporting Limit of 0.20 mg/L (Y/N)
NH4N_PPM | Ammonium (mg/L) | milligramsPerLiter
NH4 | Ammonium (ueq/L) | ueq/L
NH4_FLAG | Flag for NH4
NH4_RL_ALERT | NH4 Value Below Reporting Limit of 1.43 ueq/L (Y/N)
NO3_NO2 | Nitrate + Nitrite by Flow Injection Analysis (mg N/L) | milligramsPerLiter
NO3NO2_FLAG | Flag for NO3_NO2
NO3NO2_RL_ALERT | NO3NO2 Value Below Reporting Limit of 0.02 mg N/L (Y/N)
NTL_PPM | Total Nitrogen (mg/L) | milligramsPerLiter
NTL | Total Nitrogen (ug/L) | microgramsPerLiter
NTL_FLAG | Flag for NTL
NTL_RL_ALERT | NTL Value Below Reporting Limit of 20.00 ug/L (Y/N)
PTL | Total Phosphorus (ug/L) | microgramsPerLiter
PTL_FLAG | Flag for PTL
PTL_RL_ALERT | PTL Value Below Reporting Limit of 4.00 ug/L (Y/N)
CL_PPM | Chloride (mg/L) | milligramsPerLiter
CL | Chloride (ueq/L) | ueq/L
CL_FLAG | Flag for CL
CL_RL_ALERT | CL Value Below Reporting Limit of 5.64 ueq/L (Y/N)
NO3N_PPM | Nitrate (mg/L) | milligramsPerLiter
NO3 | Nitrate (ueq/L) | ueq/L
NO3_FLAG | Flag for NO3
NO3_RL_ALERT | NO3 Value Below Reporting Limit of 1.43 ueq/L (Y/N)
SO4_PPM | Sulfate (mg/L) | milligramsPerLiter
SO4 | Sulfate (ueq/L) | ueq/L
SO4_FLAG | Flag for SO4
SO4_RL_ALERT | SO4 Value Below Reporting Limit of 10.41 ueq/L (Y/N)
CA_PPM | Calcium (mg/L) | milligramsPerLiter
CA | Calcium (ueq/L) | ueq/L
CA_FLAG | Flag for CA
CA_RL_ALERT | CA Value Below Reporting Limit of 4.99 ueq/L (Y/N)
MG_PPM | Magnesium (mg/L) | milligramsPerLiter
MG | Magnesium (ueq/L) | ueq/L
MG_FLAG | Flag for MG
MG_RL_ALERT | MG Value Below Reporting Limit of 8.23 ueq/L (Y/N)
NA_PPM | Sodium (mg/L) | milligramsPerLiter
NA | Sodium (ueq/L) | ueq/L
NA_FLAG | Flag for NA
NA_RL_ALERT | NA Value Below Reporting Limit of 4.35 ueq/L (Y/N)
K_PPM | Potassium (mg/L) | milligramsPerLiter
K | Potassium (ueq/L) | ueq/L
K_FLAG | Flag for K
K_RL_ALERT | K Value Below Reporting Limit of 2.56 ueq/L (Y/N)
COLOR | Color (PCU) | PCU
COLOR_FLAG | Flag for COLOR
COLOR_RL_ALERT | COLOR Value Below Reporting Limit of 5.0 PCU (Y/N)
SIO2 | Silica (mg/L SiO2) | milligramsPerLiter
SIO2_FLAG | Flag for SIO2
SIO2_RL_ALERT | SIO2 Value Below Reporting Limit of 0.10 mg/L SiO2 (Y/N)
NH4ION | Calculated NH4 protolyte (ueq/L) | ueq/L
CATSUM | Sum of Cations (ueq/L) | ueq/L
ANSUM2 | Sum of Anions using ANC (ueq/L) | ueq/L
DAY_SHIP | Number of Days between Sample Collection (DATECHEM) and Sample Filtering at Lab (DATE_FILTERED) | nominalDay
DAYSHIP_ALERT | Number of Days between Sample Collection (DATECHEM) and Sample Filtering at Lab (DATE_FILTERED) Exceeded 2 Days (Y/N)
DATE_RECEIVED | Date Sample was Received by Lab (from tracking data or WRS lab file 2007 Plan 0331081.xls)
DATE_FILTERED | Date Sample was Filtered at Lab
DATEFILT_ALERT | Sample Filtered at Lab Date (DATE_FILTERED) is AFTER Sample Received by Lab Date (DATE_RECEIVED) (Y/N)
PHLAB_HT_ALERT | PH_LAB Holding Time Exceeded Limit of 3 Days (Y/N)
COND_HT_ALERT | COND Holding Time Exceeded Limit of 7 Days (Y/N)
ANC_HT_ALERT | Holding Time Exceeded Limit of 7 Days (Y/N)
TURB_HT_ALERT | TURB Holding Time Exceeded Limit of 3 Days (Y/N)
TOC_HT_ALERT | TOC Holding Time Exceeded Limit of 14 Days (Y/N)
DOC_HT_ALERT | DOC Holding Time Exceeded Limit of 14 Days (Y/N)
NH4_HT_ALERT | Holding Time Exceeded Limit of 28 Days (Y/N)
NO3NO2_HT_ALERT | NO3NO2 Holding Time Exceeded Limit of 7 Days (Y/N)
NTL_HT_ALERT | Total N Holding Time Exceeded Limit of 28 Days (Y/N)
PTL_HT_ALERT | PTL Holding Time Exceeded Limit of 28 Days (Y/N)
CL_HT_ALERT | CL Holding Time Exceeded Limit of 7 Days (Y/N)
NO3_HT_ALERT | Holding Time Exceeded Limit of 7 Days (Y/N)
SO4_HT_ALERT | Holding Time Exceeded Limit of 7 Days (Y/N)
CA_HT_ALERT | CA Holding Time Exceeded Limit of 180 Days (Y/N)
MG_HT_ALERT | MG Holding Time Exceeded Limit of 180 Days (Y/N)
NA_HT_ALERT | NA Holding Time Exceeded Limit of 180 Days (Y/N)
K_HT_ALERT | K Holding Time Exceeded Limit of 180 Days (Y/N)
COLOR_HT_ALERT | COLOR Holding Time Exceeded Limit of 3 Days (Y/N)
SIO2_HT_ALERT | SIO2 Holding Time Exceeded Limit of 7 Days (Y/N)
COM_FIELD_PH | Field pH comment from Profile_do_com data
COMMENT_FLD_CHEM | Field Sampling Comments
COMMENT_LAB_CHEM | Laboratory Analysis Comments
COMMENT_IM_CHEM | IM Data Validation Comments
INDXSAMP_CHLA | Index chlorophyll sample for site (YES/NO)-typically the Visit 1 Primary sample
DATECHLA | Date chlorophyll a sample collected
SAMPLED_CHLA | CHLA SAMPLE COLLECTED/ANALYZED
CHLA | Chlorophyll a concentration (µg/L). Calculated as CHLA_ADJ*(40/VOL_FILTERED) | microgramsPerLiter
SAMPLE_ID_CHLA | Sample ID number
LAB_ID_CHLA | Laboratory sample ID
CHLA_RL_ALERT | CHLA REPORTING LIMIT (< 0.1 ug/L) ALERT (Y/N)
FLAG_FLD_CHLA | Data qualifier (Field Crew)
COMMENT_FLD_CHLA | CHLA comments recorded by field crew
FLAG_LAB_CHLA | Data qualifier (laboratory)
COMMENT_LAB_CHLA | CHLA comments recorded by lab personnel
CHLA_HT_ALERT | CHLA HOLDING TIME (> 28 days) ALERT (Y/N)
DATESECCHI | Date of Secchi transparency determination
SAMPLED_SECCHI | Secchi transparency determined
SECMEAN | Secchi transparency (m)(=avg. of disk disappearance and reappearance depths) | meter
CLEAR_TO_BOTTOM | Clear all the way to the bottom (Y/blank)
COMMENT_SECCHI | Comments and flag explanations for Secchi determination
VISIT_ID | ID of site visit
FLAG_SECCHI | Data Qualifier flag for Secchi determination